## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: KERALA RURAL WATER SUPPLY AND SANITATION AGENCY(KRWSA)
Work Name : JAL JEEVAN MISSION-Providing Functional House hold Tap connections to Bellur Grama Panchayath
Contract No: 001/JJM/KRWSA/RPMU/KNR/BLR/2022
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | PROVIDING FHTCs FROM BELLUR LWSS AND CONSTRUCTION OF ADDITIONAL SOURCES,RESERVOIRS FOR FULL COVERAGE | BI01010001010000000000000515BI0100001113 | [6 empty] | 1
1.01 | 100.60.1.1.2 : Providing 15mm (1/2 inch) house connection with 15mm (1/2 inch) water meter from existing PVC / HDPE mains up to 110 mm dia., up to a length of 5 m using 20mm Indian Standard Class 6 uPVC pipe and uPVC / GM / Brass specials viz. brass ferrule, GM full way wheel valve, Elbow, MTA, FTA, couplers, PVC Service Saddle of suitable size etc. and connecting with the mains, testing the joints etc. complete including trenching and refilling in all kinds of soil up to a depth of 1.50m for main line tracing and trench of average cross section 0.3m x 0.75m for laying connection pipe and service pipe, fixing water meter, lighting, watching, providing caution boards, traffic control etc. complete including cost of materials, hire for tools, cost of consumables and labour charges, including the cost of tested Class B Multijet water meter with ISI mark and weather resistant PP / PE meter box of minimum size 300mm x 200mm x 150mm, but excluding charges for cutting the concrete / tarred / bituminous roads etc, and as per the direction of the departmental officers. | BI01010001010000000000000515BI0100001114 | 600 | no | 5774.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | 100.60.2.1.2 : Providing 15mm (1/2 inch) house connection with 15mm (1/2 inch) water meter from existing PVC / HDPE mains from 140mm to 200mm dia., up to a length of 5 m using 20mm Indian Standard Class 6 uPVC pipe and uPVC / GM / Brass specials viz. brass ferrule, GM full way wheel valve, Elbow, MTA, FTA, couplers, PVC Service Saddle of suitable size etc. and connecting with the mains, testing the joints etc. complete including trenching and refilling in all kinds of soil up to a depth of 1.50m for main line tracing and trench of average cross section 0.3m x 0.75m for laying connection pipe and service pipe, fixing water meter, lighting, watching, providing caution boards, traffic control etc. complete including cost of materials, hire for tools, cost of consumables and labour charges, including the cost of tested Class B Multijet water meter with ISI mark and weather resistant PP / PE meter box of minimum size 300mm x 200mm x 150mm, but excluding charges for cutting the concrete / tarred / bituminous roads etc, and as per the direction of the departmental officers. | BI01010001010000000000000515BI0100001115 | 300 | no | 5974.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | 100.60.1.4.2 : Providing 15mm (1/2 inch) house connection with 15mm (1/2 inch) water meter from existing AC / GI mains up to 125 mm dia., up to a length of 5 m using 20mm Indian Standard Class 6 uPVC pipe and uPVC / GM / Brass specials viz. brass ferrule, GM full way wheel valve, Elbow, MTA, FTA, couplers, GI / MS / SS Service Saddle of suitable size etc. and connecting with the mains, testing the joints etc. complete including trenching and refilling in all kinds of soil up to a depth of 1.50m for main line tracing and trench of average cross section 0.3m x 0.75m for laying connection pipe and service pipe, fixing water meter, lighting, watching, providing caution boards, traffic control etc. complete including cost of materials, hire for tools, cost of consumables and labour charges, including the cost of tested Class B Multijet water meter with ISI mark and weather resistant PP / PE meter box of minimum size 300mm x 200mm x 150mm, but excluding charges for cutting the concrete / tarred / bituminous roads etc, and as per the direction of the departmental officers. | BI01010001010000000000000515BI0100001116 | 100 | no | 5887.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 100.60.2.4.2 : Providing 15mm (1/2 inch) house connection with 15mm (1/2 inch) water meter from existing AC / GI mains from 150mm to 200mm dia., up to a length of 5 m using 20mm Indian Standard Class 6 uPVC pipe and uPVC / GM / Brass specials viz. brass ferrule, GM full way wheel valve, Elbow, MTA, FTA, couplers, GI / MS / SS Service Saddle of suitable size etc. and connecting with the mains, testing the joints etc. complete including trenching and refilling in all kinds of soil up to a depth of 1.50m for main line tracing and trench of average cross section 0.3m x 0.75m for laying connection pipe and service pipe, fixing water meter, lighting, watching, providing caution boards, traffic control etc. complete including cost of materials, hire for tools, cost of consumables and labour charges, including the cost of tested Class B Multijet water meter with ISI mark and weather resistant PP / PE meter box of minimum size 300mm x 200mm x 150mm, but excluding charges for cutting the concrete / tarred / bituminous roads etc, and as per the direction of the departmental officers. | BI01010001010000000000000515BI0100001117 | 70 | no | 5974.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 100.60.3.1.1 : Providing additional length of house connection pipe using 20mm Indian Standard Class 6 uPVC pipe and specials and testing the joints etc., by trenching and refilling in all kinds of soil with trench of average cross section 0.3m x 0.75m for laying of connection pipe and service pipe, lighting, watching, providing caution boards, traffic control etc., including cost of materials, hire for tools, cost of consumables and labour charges etc. complete, but excluding the cost of cutting of concrete / tarred / bituminous roads etc., and as per the directions of the department officers. | BI01010001010000000000000515BI0100001118 | 48560 | metre | 171.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 100.60.12.3.1 : Providing 15mm PVC Tap in the water meter assembly for 15mm connection, using 20mm Indian Standard Class 6 uPVC pipes and specials including cost of materials, consumables, hire charges for tools and labour charges etc. complete and as per the direction of departmental officers. | BI01010001010000000000000515BI0100001119 | 1070 | no | 563.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 100.60.10.4.1 : Providing 20mm (1/2 inch) PVC Air Valve in the water meter assembly for 15mm connection, using 20mm Indian Standard Class 6 uPVC pipes and specials including cost of materials, consumables, hire for tools and labour charges etc. complete and as per the directions of the department officers. | BI01010001010000000000000515BI0100001120 | 1070 | no | 373.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 100.98.211 : Supply of uPVC Pipe, IS 4985: 2000 , 6kg/cm2, 63mm Dia.. | BI01010001010000000000000515BI0100001121 | 1284 | metre | 98.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 100.98.230 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 25mm. | BI01010001010000000000000515BI0100001122 | 15000 | metre | 27.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | 100.98.231 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 32mm Dia. | BI01010001010000000000000515BI0100001123 | 12600 | metre | 42.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 100.98.232 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 40mm Dia. | BI01010001010000000000000515BI0100001124 | 9500 | metre | 63.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 100.98.233 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 50mm Dia. | BI01010001010000000000000515BI0100001125 | 7800 | metre | 106 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | 100.98.234 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 63mm Dia. | BI01010001010000000000000515BI0100001126 | 4500 | metre | 154.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 100.98.235 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 75mm Dia. | BI01010001010000000000000515BI0100001127 | 4300 | metre | 226.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | od51594/2021_2022 : Supply of PVC Pipe,12.5kg/cm2,75mm Dia | BI01010001010000000000000515BI0100001128 | 700 | metre | 287.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 100.98.236 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 90mm Dia. | BI01010001010000000000000515BI0100001129 | 4100 | metre | 324.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | od51595/2021_2022 : Supply of PVC Pipe,12.5kg/cm2,90mm Dia | BI01010001010000000000000515BI0100001130 | 500 | metre | 409.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 100.98.237 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 110mm Dia. | BI01010001010000000000000515BI0100001131 | 3200 | metre | 488.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | 100.98.238 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 140mm Dia. | BI01010001010000000000000515BI0100001132 | 1300 | metre | 788 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | 100.98.239 : Supply of uPVC Pipe, IS 4985: 2000 , 10kg/cm2, 160mm Dia. | BI01010001010000000000000515BI0100001133 | 750 | metre | 1025.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | 100.1.1 : Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil (Ref. Item No. 2.10.1 of DSR) | BI01010001010000000000000515BI0100001134 | 8043 | cum | 545.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | 100.1.5 : Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :" Ordinary Rock. (Ref. Item No. 2.13.1 of DSR) | BI01010001010000000000000515BI0100001135 | 5630.1 | cum | 791.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | 100.2.7 : "Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Medium Rock (blasting prohibited) New Data derived from DAR | BI01010001010000000000000515BI0100001136 | 2412.9 | cum | 1316.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | 100.9.2 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 25 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001137 | 15000 | metre | 35.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | 100.9.3 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 32 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001138 | 12600 | metre | 40.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | 100.9.4 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 40 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001139 | 9500 | metre | 46.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | 100.9.5 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials) 50 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001140 | 7800 | metre | 46.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | 100.9.6 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 63 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001141 | 4500 | metre | 85.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | 100.9.7 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 75 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001142 | 5000 | metre | 85.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | 100.9.8 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 90 mm nominal outer dia pipes." | BI01010001010000000000000515BI0100001143 | 4600 | metre | 85.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | 100.9.9 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 110 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001144 | 3200 | metre | 125.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | 100.9.10 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 140 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001145 | 1300 | metre | 165.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | 100.9.11 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 160 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001146 | 750 | metre | 198.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | 100.8.1 : Fencing one side of trenches, 1.50 m height with two rows of 10 cm plastic caution tape in vertical casuarina pole (girth 15cm to 24cm) fixed at 2 m intervals. (Data Prepared based on PWD SDB - Item No.1009) | BI01010001010000000000000515BI0100001147 | 2500 | metre | 27.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | 18.12.1 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work15 mm dia nominal bore | BI01010001010000000000000515BI0100001148 | 4200 | metre | 282 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | 18.12.2 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work20 mm dia nominal bore | BI01010001010000000000000515BI0100001149 | 3500 | metre | 327.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | 18.12.3 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work25 mm dia nominal bore | BI01010001010000000000000515BI0100001150 | 2800 | metre | 421.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.38 | 18.12.4 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work32 mm dia nominal bore | BI01010001010000000000000515BI0100001151 | 2500 | metre | 490.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.39 | 18.12.5 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work40 mm dia nominal bore | BI01010001010000000000000515BI0100001152 | 2100 | metre | 558.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.4 | 18.12.6 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work50 mm dia nominal bore | BI01010001010000000000000515BI0100001153 | 1300 | metre | 652.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.41 | 18.12.7 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work65 mm dia nominal bore | BI01010001010000000000000515BI0100001154 | 1200 | metre | 827.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.42 | 18.12.8 : Providing and fixing G.I. pipes complete with G.I fittings including trenching and refilling etc. External work80 mm dia nominal bore | BI01010001010000000000000515BI0100001155 | 850 | metre | 1000.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.43 | 18.17.3 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :40 mm nominal bore | BI01010001010000000000000515BI0100001156 | 20 | each | 783.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.44 | 18.17.4 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :50 mm nominal bore | BI01010001010000000000000515BI0100001157 | 10 | each | 1003.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.45 | 18.17.5 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :65 mm nominal bore | BI01010001010000000000000515BI0100001158 | 7 | each | 1718.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.46 | 18.17.6 : Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :80 mm nominal bore | BI01010001010000000000000515BI0100001159 | 4 | each | 2561.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.47 | 18.59.1 : Providing and fixing C.I double acting air valve of approved quality with bolts, nuts, rubber insertion etc. complete ( The tail pieces, tapers etc. if required will be paid separately):50 mm dia | BI01010001010000000000000515BI0100001160 | 5 | no | 5956.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.48 | 18.59.2 : Providing and fixing C.I double acting air valve of approved quality with bolts, nuts, rubber insertion etc. complete ( The tail pieces, tapers etc. if required will be paid separately):80 mm dia | BI01010001010000000000000515BI0100001161 | 3 | no | 7208.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.49 | 18.59.3 : Providing and fixing C.I double acting air valve of approved quality with bolts, nuts, rubber insertion etc. complete ( The tail pieces, tapers etc. if required will be paid separately):100 mm dia | BI01010001010000000000000515BI0100001162 | 2 | no | 9463.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.5 | 18.31.1.1 : Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertion etc. (the tail pieces if required will be paid separately):100 mm diameterClass I | BI01010001010000000000000515BI0100001163 | 5 | no | 4594.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.51 | 18.31.2.1 : Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertion etc. (the tail pieces if required will be paid separately):125 mm diameterClass I | BI01010001010000000000000515BI0100001164 | 3 | no | 4988.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.52 | 18.31.3.1 : Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertion etc. (the tail pieces if required will be paid separately):150 mm diameterClass I | BI01010001010000000000000515BI0100001165 | 2 | no | 6741.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.53 | 100.59.1 : Cutting the bituminous / concrete roads with cutting machine for a minimum depth of 200mm along the sides of proposed alignment of the pipe to be laid without causing any damage to other utilities, including the charges for hire and conveyance of tools and plant, cost of consumables and charges for lighting, watching, ribbon fencing, caution boards, traffice diversion, and as per the direction of departmental officers etc. complete, before carrying out the demolition of bituminous / concrete road by mechanical means and carrying out the excavation. | BI01010001010000000000000515BI0100001166 | 540 | metre | 29.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.54 | 15.43.2 : Dismantling manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer -in-Charge:Bituminous road | BI01010001010000000000000515BI0100001167 | 162 | sqm | 354.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.55 | 4.1.3 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:2:4 (cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001168 | 56.4 | cum | 7841.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | CONSTRUCTION OF OPEN WELL AT GWALIKATA | BI01010001010000000000000515BI0100001169 | [6 empty] | 1
2.01 | 2.32 : Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | BI01010001010000000000000515BI0100001170 | 100 | sqm | 7.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | 100.3.5.1 : Earthwork open well excavation (above water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift up to 1.5 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1089 & 1092 | BI01010001010000000000000515BI0100001171 | 57.698 | cum | 461.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | 100.3.5.2 : Earthwork open well excavation (above water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 1.5m to 3.0 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1089 & 1092 | BI01010001010000000000000515BI0100001172 | 57.698 | cum | 507.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 100.3.5.13 : Earthwork open well excavation (in or under water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 3.0m to 4.5 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1090 & 1093 | BI01010001010000000000000515BI0100001173 | 57.698 | cum | 664.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | 100.3.5.14 : Earthwork open well excavation (in or under water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 4.5m to 6.0 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1090 & 1093 | BI01010001010000000000000515BI0100001174 | 57.698 | cum | 719.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | 100.3.5.15 : Earthwork open well excavation (in or under water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 6.0m to 7.50 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1090 & 1093 | BI01010001010000000000000515BI0100001175 | 57.698 | cum | 775.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | 100.3.5.16 : Earthwork open well excavation (in or under water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 7.50m to 9.0 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1090 & 1093 | BI01010001010000000000000515BI0100001176 | 57.698 | cum | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | 100.3.5.17 : Earthwork open well excavation (in or under water) for wells of dia. above 3.5m and upto 6.0 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 9.0m to 10.50 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1090 & 1093 | BI01010001010000000000000515BI0100001177 | 57.698 | cum | 885.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | 100.7.1 : Bailing out water with 5 HP engine and pumpset including conveyance to the site, errection, dismantling and taking back of engine and pump, cost of fuel lubricating oil and other stores pay of staff etc. complete. NEW DATA (Prepared based on PHED SDB - Item No.1070 | BI01010001010000000000000515BI0100001178 | 5371.2 | Kwh | 36.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | BI01010001010000000000000515BI0100001179 | 434.701 | sqm | 703.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | 5.2.2 : Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up tot floor five level excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001180 | 48.452 | cum | 10748.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | 5.22.1 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelMild steel and Medium Tensile steel bars | BI01010001010000000000000515BI0100001181 | 2965.263 | kg | 94.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | 13.7.2 : 12 mm cement plaster finished with a floating coat of neat cement of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001182 | 52.251 | sqm | 379.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | 13.37.1 : White washing with lime to give an even shade:New work (three or more coats) | BI01010001010000000000000515BI0100001183 | 52.251 | sqm | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | 13.43.1 : Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer | BI01010001010000000000000515BI0100001184 | 52.251 | sqm | 69.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | 13.60.1 : Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade:Two or more coats on new work | BI01010001010000000000000515BI0100001185 | 52.251 | sqm | 148.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | Providing and Fixing booth level pump house manufactured with cement concrete of size 1.2x1.2m | BI01010001010000000000000515BI0100001186 | 1 | each | 20000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | DRILLING BORE WELL AT KAIMALA | BI01010001010000000000000515BI0100001187 | [6 empty] | 1
3.01 | Drilling Bore well of suitable size to accommodate well casing pipe of internal Dia. Not less than 150mm for various strata upto 150 m below the ground level having an average 40 m over burden in all classes of soil and rock inclusive of hire charges for machineries and other accessories and stores putting up temperory shed and storing equipments,cost of fuel,oil and other incidental items to complete the work including the cost of casing pipe | BI01010001010000000000000515BI0100001188 | 90 | metre | 665 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | Supply and laying 160mm dia 6kg/cm2 Pvc pipe as Casing pipe | BI01010001010000000000000515BI0100001189 | 24 | metre | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | 100.98.132 : Supply of PE Pipe, PE100, PN8, 63mm dia, conforming to IS 4984/2016. | BI01010001010000000000000515BI0100001190 | 494 | metre | 105.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | 100.9.6 : Laying UPVC pipes of class 2 to class 6 and specials, lowering to the trenches already made, placing in position aligning the pipe line to the lines and levels and jointing the pipes and specials with solvent cement and testing the pipe line with water to the required test pressure (excluding cost of pipes and specials). 63 mm nominal outer dia pipes. | BI01010001010000000000000515BI0100001191 | 494 | metre | 85.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | CONSTRUCTION OF GLSR AT KAIMALA | BI01010001010000000000000515BI0100001192 | [6 empty] | 1
4.01 | 2.32 : Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | BI01010001010000000000000515BI0100001193 | 64 | sqm | 7.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | 2.6.1 : Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.All kinds of soil | BI01010001010000000000000515BI0100001194 | 18 | cum | 210.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001195 | 10.16 | sqm | 329.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001196 | 5.409 | cum | 6687.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | 5.1.2 : Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level:1:1:5:3 (1 cement 1.5 coarse sand :3 graded stone aggregate 20 mm nominal size | BI01010001010000000000000515BI0100001197 | 7.5 | cum | 8914.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | BI01010001010000000000000515BI0100001198 | 105.28 | sqm | 703.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | 5.9.3 : Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001199 | 34.11 | sqm | 800.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | 5.2.2 : Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up tot floor five level excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001200 | 15.252 | cum | 10748.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | 5.22.1 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelMild steel and Medium Tensile steel bars | BI01010001010000000000000515BI0100001201 | 1893.18 | kg | 94.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | 13.9.1 : Cement plaster 1:3 ( 1 cement : 3 coarse sand) finished with a floating coat of neat cement.12 mm cement plaster | BI01010001010000000000000515BI0100001202 | 70.65 | sqm | 404.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | 22.23.2 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For horizontal surface one coat @1.10 kg per sqm. | BI01010001010000000000000515BI0100001203 | 70.65 | sqm | 431.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | 13.7.2 : 12 mm cement plaster finished with a floating coat of neat cement of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001204 | 80.89 | sqm | 379.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | 13.37.1 : White washing with lime to give an even shade:New work (three or more coats) | BI01010001010000000000000515BI0100001205 | 80.89 | sqm | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | 13.43.1 : Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer | BI01010001010000000000000515BI0100001206 | 80.89 | sqm | 69.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.15 | 13.60.1 : Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade:Two or more coats on new work | BI01010001010000000000000515BI0100001207 | 80.89 | sqm | 148.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.16 | 13.71 : Lettering with black Japan pint of approved brand and manufacture | BI01010001010000000000000515BI0100001208 | 1000 | per Letter per cm height | 5.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | CONSTRUCTION OF OHSR AT MEENJIPADAVU | BI01010001010000000000000515BI0100001209 | [6 empty] | 1
5.01 | 2.8.1 : Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil | BI01010001010000000000000515BI0100001210 | 28.8 | cum | 291.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | 4.1.8 : Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 nominal size) | BI01010001010000000000000515BI0100001211 | 1.734 | cum | 6687.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | 5.1.2 : Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level:1:1:5:3 (1 cement 1.5 coarse sand :3 graded stone aggregate 20 mm nominal size | BI01010001010000000000000515BI0100001212 | 10.442 | cum | 8914.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | 5.2.2 : Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up tot floor five level excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001213 | 12.841 | cum | 10748.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | 5.3 : Reinforced cement concrete work in beams, suspended floors, roofs, having slope up to 15<sup>0</sup> landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level excluding the cost of centering, shuttering, finishing and reinforcement, with1:1.5:3 (1 cement : 1.5 coarse sand (Zone III) : 3 graded stone aggregate 20 mm nominal size). | BI01010001010000000000000515BI0100001214 | 22.593 | cum | 11277.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | 5.22.1 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelMild steel and Medium Tensile steel bars | BI01010001010000000000000515BI0100001215 | 3831.1 | kg | 94.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | 5.9.1 : Centering and shuttering including strutting, etc. and removal of form for:Foundations, footings, bases of columns, etc for mass concrete | BI01010001010000000000000515BI0100001216 | 9.62 | sqm | 329.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | BI01010001010000000000000515BI0100001217 | 91.561 | sqm | 703.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | 5.9.3 : Centering and shuttering including strutting, etc. and removal of form for:Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001218 | 84.082 | sqm | 800.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | 5.9.5 : Centering and shuttering including strutting, etc. and removal of form for:Lintels, beams, plinth beams, girders bressumers and cantilevers | BI01010001010000000000000515BI0100001219 | 78.21 | sqm | 637.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.11 | 13.7.1 : 12 mm cement plaster finished with a floating coat of neat cement of mix:1:3 ( 1 cement : 3 fine sand) | BI01010001010000000000000515BI0100001220 | 72.61 | sqm | 393.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.12 | 22.23.2 : Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineerin- charge. The product performance shall carry guarantee for 10 years against any leakage.For horizontal surface one coat @1.10 kg per sqm. | BI01010001010000000000000515BI0100001221 | 72.61 | sqm | 431.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.13 | 13.1.1 : 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) | BI01010001010000000000000515BI0100001222 | 165.455 | sqm | 308.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.14 | 13.37.1 : White washing with lime to give an even shade:New work (three or more coats) | BI01010001010000000000000515BI0100001223 | 165.455 | sqm | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.15 | 13.43.1 : Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer | BI01010001010000000000000515BI0100001224 | 165.455 | sqm | 69.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.16 | 13.60.1 : Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade:Two or more coats on new work | BI01010001010000000000000515BI0100001225 | 165.455 | sqm | 148.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.17 | 13.71 : Lettering with black Japan pint of approved brand and manufacture | BI01010001010000000000000515BI0100001226 | 1000 | per Letter per cm height | 5.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.18 | 10.25.2 : Item Shifted to head 14 as item 14.74Steel work welded in built up sections/framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | BI01010001010000000000000515BI0100001227 | 380 | kg | 151.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | CIVIL WORK NEAR SUMP, MAYILAKKOTE | BI01010001010000000000000515BI0100001228 | [6 empty] | 1
6.01 | 100.3.3.1 : Earthwork open well excavation (above water) for wells of dia. above 2.5m and upto 3.50 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift up to 1.5 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1080 & 1083 | BI01010001010000000000000515BI0100001229 | 10.598 | cum | 501 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | 100.3.3.2 : Earthwork open well excavation (above water) for wells of dia. above 2.5m and upto 3.50 m in all kinds of soil and conveying and depositing the spoil within initial lead of 50m and lift from 1.5m to 3.0 m including neat banking. NEW DATA (Prepared based on PHED SDB - Item No.1082 & 1085 | BI01010001010000000000000515BI0100001230 | 10.598 | cum | 551.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | 5.9.2 : Centering and shuttering including strutting, etc. and removal of form for:Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | BI01010001010000000000000515BI0100001231 | 60.76 | sqm | 703.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | 5.2.2 : Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up tot floor five level excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | BI01010001010000000000000515BI0100001232 | 27.555 | cum | 10748.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.05 | 5.22.1 : Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth levelMild steel and Medium Tensile steel bars | BI01010001010000000000000515BI0100001233 | 1653 | kg | 94.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | PUMPING MAIN FROM SUMP TO TANK | BI01010001010000000000000515BI0100001234 | [6 empty] | 1
7.01 | 100.1.1 : Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil (Ref. Item No. 2.10.1 of DSR) | BI01010001010000000000000515BI0100001235 | 374.401 | cum | 545.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | 100.1.5 : Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :" Ordinary Rock. (Ref. Item No. 2.13.1 of DSR) | BI01010001010000000000000515BI0100001236 | 93.601 | cum | 791.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | 18.72.1 : Providing and laying S & S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329:100 mm dia Ductile Iron Class K- 7 Pipes | BI01010001010000000000000515BI0100001237 | 1300 | metre | 1286.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | 18.70.1 : Providing push - on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and including the cost of rubber gasket:100 mm dia pipes | BI01010001010000000000000515BI0100001238 | 237 | joint | 105.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | 18.30.2 : Providing flanged joints to double flanged C.I./ D.I pipes and specials, including testing of joints:100 mm diameter pipe | BI01010001010000000000000515BI0100001239 | 15 | no | 306.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | 18.68.1 : Providing and laying D.I specials of class K - 12 suitable for push - on jointing as per IS : 9523 :Upt 600 mm dia | BI01010001010000000000000515BI0100001240 | 8.051 | quintal | 19744.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | SURVEYING | BI01010001010000000000000515BI0100001241 | [6 empty] | 1
8.01 | Surveying with Electronic total station with single prism in normal terrain and normal traffic | BI01010001010000000000000515BI0100001242 | 83 | km | 1930.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | od31122/2022_2023 : Identifying the existing distribution main and locating its position including earth work excavation for exposing the pipelines and back filling the trenches after inspection in the original position as per the direction of departmental officers including all labour and hire charges etc.complete | BI01010001010000000000000515BI0100001243 | 42.5 | cum | 545.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | od31123/2022_2023 : Conducting field inspection,analysing the survey results and other data collected during field inspection,designing the pipeline network using EPANET for providing hydraulically feasible FHTCs by engaging technically qualifying experts including cost of all conveyance,hire and labour charges for computer software,printing charges etc. complete. | BI01010001010000000000000515BI0100001244 | 83 | km | 615.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing and Fixing HDPE Tank of 10000 litres capacity including necessary platform and shelter | BI01010001010000000000000515BI0100001245 | 10000 | ltr | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Supply and installation of open well submersible pump set of discharge 7 lps at 120m head,checking duty as per site condition including all accessories like starter,panel board,robotic control system etc. | BI01010001010000000000000515BI0100001246 | 1 | each | 244875 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Supply and installation of Bore well submersible pump set of discharge 4 lps at 150m head,checking duty as per site condition including all accessories like starter,panel board,robotic control system etc. | BI01010001010000000000000515BI0100001247 | 1 | each | 244875 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Supply and installation of Centrifugal pump set of discharge 16 lps at 160m head,checking duty as per site condition including all accessories like starter,panel board,robotic control system necessary platform etc | BI01010001010000000000000515BI0100001248 | 1 | each | 541252 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | SUPPLYING AND FIXING VALVES | BI01010001010000000000000515BI0100001249
13.01 | 32mm GM Valve | BI01010001010000000000000515BI0100001250 | 15 | No.s | 671.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.02 | 40mm GM Valve | BI01010001010000000000000515BI0100001251 | 10 | No.s | 783.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.03 | 50mm GM Valve | BI01010001010000000000000515BI0100001252 | 8 | No.s | 1003.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.04 | 65mm GM Valve | BI01010001010000000000000515BI0100001253 | 6 | No.s | 1718.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.05 | 80mm GM Valve | BI01010001010000000000000515BI0100001254 | 5 | No.s | 2561.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.06 | 100mm CI Sluice valve | BI01010001010000000000000515BI0100001255 | 3 | No.s | 4594.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.07 | 125mm CI Sluice valve | BI01010001010000000000000515BI0100001256 | 3 | No.s | 4988.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.08 | 150mm CI Sluice valve | BI01010001010000000000000515BI0100001257 | 2 | No.s | 6741.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Supplying and fixing CI/MS Surface boxes with protection tubes for valves of size 80mm and below | BI01010001010000000000000515BI0100001258 | 44 | No.s | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Construction of Valve chamber in reinforced cement concrete of 1:2:4 including earth work excavation,bed,side and cover slabs with locking arrangement system for valves of Dia 100 mm and above(1X1X1m) | BI01010001010000000000000515BI0100001259 | 8 | No.s | 25000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Geo tagging of completed Functional house hold tap connections | BI01010001010000000000000515BI0100001260 | 1070 | each | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information